{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":1,"macros":1,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":131,"n_cols":15,"rows_kept":131,"cut":false,"hidden":false,"merged":[[130,3,130,15],[110,3,110,15],[114,3,114,15],[118,3,118,15],[122,3,122,15],[126,3,126,15],[11,9,11,12],[96,2,96,8],[81,2,81,6],[74,2,74,7],[81,11,81,14],[62,12,62,13],[60,12,60,13],[73,2,73,7],[50,2,50,8],[50,10,50,11],[54,10,54,11],[52,10,52,11],[52,12,52,13],[52,2,52,8],[26,10,26,11],[98,11,98,14],[46,1,46,5],[48,12,48,13],[50,12,50,13],[54,12,54,13],[56,12,56,13],[50,14,50,15],[52,14,52,15],[60,2,60,6],[71,2,71,7],[76,1,76,7],[71,11,71,14],[73,11,73,14],[62,10,62,11],[4,0,4,15],[48,2,48,8],[46,10,46,11],[46,12,46,13],[39,10,39,11],[34,10,34,11],[37,10,37,11],[48,10,48,11],[24,10,24,11],[28,10,28,11],[46,14,46,15],[48,14,48,15],[7,1,7,15],[5,1,5,8],[30,10,30,11],[11,3,11,6],[54,14,54,15],[56,14,56,15],[58,14,58,15],[60,14,60,15],[32,10,32,11],[58,12,58,13],[62,2,62,6],[56,10,56,11],[74,11,74,14],[62,14,62,15],[58,10,58,11],[60,10,60,11],[56,2,56,6],[58,2,58,6]]}
["APPENDIX A"]
["STORM WATER AND LOW-IMPACT DEVELOPMENT BMP REQUIREMENT WORKSHEET"]
[]
["How to Use This Worksheet"]
["The City's Storm Water BMP requirements are based on project type, proposed impervious area, and location within the watershed. This worksheet was developed to help permit applicants determine and meet storm water BMP requirements applicable to a proposed development or redevelopment project. "]
[null,"1 - Download this fillable form online at www.cityofsantacruz.com/LID "]
[null,"2 - Fill out the Worksheet to determine what stormwater BMP requirements apply to a proposed project. "]
[null,"3 - Attach Worksheet and additional documentation required as listed in the City Storm Water Best Management Practices for Private and Public Development Projects to plans for review by the Department of Public Works"]
[null,"4 - Please contact the Public Works Environmental Project Analyst at 420-5160 if you have any questions on completing the worksheet. "]
[]
["SECTION 1 - DETERMINING THE APPLICABILITY OF BMP REQUIREMENTS"]
["Project Address:",null,null,null,null,null,null,null,"Bldg Permit #:"]
[]
["A - Project Type"]
["Check project type that applies:"]
[]
[null,null,"Single Family Home",null,null,"Multi-family, Commercial, Industrial, Public facilities"]
[]
["Check development type that applies:"]
[]
[null,null,"New Development",null,null,"Redevelopment / Remodel"]
[]
["B - Proposed Development Area and Impervious Area:"]
[]
[null,"Pre-project impervious surface area: ",null,null,null,null,null,null,null,null,null,null,"sq ft"]
[]
[null,"Post-project impervious surface area: ",null,null,null,null,null,null,null,null,null,null,"sq ft"]
[]
[null,"Amount of impervious surface area that will be replaced: ",null,null,null,null,null,null,null,null,null,null,"sq ft"]
[]
[null,"Amount of new impervious surface area that will be created: ",null,null,null,null,null,null,null,null,null,null,"sq ft"]
[]
[null,"Amount of impervious surface area removed:",null,null,null,null,null,null,null,null,500,null,"sq ft"]
[]
[null,"Reduced Impervious Area Credit:",null,null,null,null,null,null,null,null,{"$f":"IF(K25-K27>0,K25-K27,0)","v":0},null,"sq ft"]
[]
[]
[null,null,null,null,null,null,null,null,"New and Replaced Impervious Area = ",null,{"$f":"SUM(K29,K31)","v":0},null,"sq ft"]
[]
[null,null,null,null,null,null,null,null,"Net Impervious Area =",null,{"$f":"(K29+K31)-(K35)","v":0},null,"sq ft"]
[null,"(Net Impervious Area = Impervious Area created + Impervious Area replaced - Reduced Impervious Area Credit)"]
[]
["C - Post-Construction BMP Tier requirement:"]
["Check Project Type and Impervious Area (from calculations above) that applies. "]
["BMP requirements are cumulative (e.g. a project subject to BMP Tier 3 is also subject to Tiers 1 and 2), permit review fees are not cumulative."]
["Projects requiring a Stormwater Control Plan will need to involve a civil engineer. "]
[null,"  SINGLE-FAMILY HOMES",null,null,null,null,null,null,null,null,"BMP TIER",null,"Permit Review Fee",null,"Stormwater Control Plan required?"]
[]
[null,null,"Single-family Home with Net Impervious Area < 15,000 sf, please consult Chapter 6A, BMPs for Single-Family Homes on Small Lots",null,null,null,null,null,null,null,"N/A",null,0,null,"No"]
[]
[null,null,"Net Impervious Area ≥ 15,000 sf; New and replaced impervious area \n< 22,500 sf",null,null,null,null,null,null,null,3,null,330,null,"Yes"]
[]
[null,null,"New and replaced impervious area ≥ 22,500 sf",null,null,null,null,null,null,null,4,null,550,null,"Yes"]
[]
[null,"  MULTI-FAMILY, COMMERCIAL, INDUSTRIAL, PUBLIC FACILITIES",null,null,null,null,null,null,null,null,"BMP TIER",null,"Permit Review Fee",null,"Stormwater Control Plan Required?"]
[]
[null,null,"New and Replaced Impervious Area ≥ 2,500 sf; Net Impervious Area < 5,000 sf",null,null,null,null,null,null,null,1,null,0,null,"No"]
[]
[null,null,"Net Impervious Area ≥ 5,000 sf; New and Replaced Impervious Area < 15,000 sf",null,null,null,null,null,null,null,2,null,330,null,"Yes"]
[]
[null,null,"New and Replaced Impervious Area ≥ 15,000 sf but < 22,500 sf",null,null,null,null,null,null,null,3,null,550,null,"Yes"]
[]
[null,null,"New and replaced impervious area ≥ 22,500 sf",null,null,null,null,null,null,null,4,null,550,null,"Yes"]
["If the proposed project is only subject to BMP Tiers 1 or 2, skip to Step F. "]
[]
["D - Watershed Management Zones - For projects subject to Tiers 3 Post-Construction BMP requirements only."]
["Watershed Management Zones are viewable online on the City of Santa Cruz GIS website at: http://gis.cityofsantacruz.com/gis/index.html "]
[]
["Watershed Management Zones and associated Tier 3 (Runoff Retention) Post-Construction BMP requirements"]
["If Tier 3 BMP requirements are applicable to the  project, check the watershed management zone area where the project is located."]
[]
[null,null,"WMZ 1, and portions of 4, and 10 overlying \ngroundwater basin",null,null,null,null,null,null,null,null,"WMZ 2"]
[]
[null,null,"WMZ 5 and 8",null,null,null,null,null,null,null,null,"WMZ 6 and 9"]
[null,null,"WMZ 3, 4 and 10"]
[]
[]
[]
["E - Special Circumstances - For projects subject to Tiers 3 and 4 Post-Construction BMP requirements only."]
["Check if special circumstance applies to the project"]
[]
[null,null,"Highly Altered Channel and Intermediate Flow Control Facility",null,null,null,null,null,null,null,null,"Urban Sustainability Area"]
[]
["F - Additional Stormwater BMP Requirements for Multi-family, Commercial and Industrial projects"]
["Check if additional BMP requirements apply to the project"]
[]
[null,"a) State Construction Activities Storm Water General Permit"]
[]
[null,null,"Construction activity resulting in land disturbance of one acre or more, or part of a larger common plan of development"]
[]
[null,"b) Additional Source Control BMP requirements for specific facilities"]
[]
[null,null,"Commercial or industrial facility",null,null,null,null,null,null,null,null,"Parking areas"]
[]
[null,null,"Material Storage Areas",null,null,null,null,null,null,null,null,"Pools, spas and other water features"]
[]
[null,null,"Vehicle fueling, maintenance and wash areas",null,null,null,null,null,null,null,null,"Trash Storage Areas"]
[]
[null,null,"Equipment and accessory wash areas",null,null,null,null,null,null,null,null,"Restaurants and food processing or manufacturing facilities"]
[]
[null,null,"Interior and parking garage floor drains",null,null,null,null,null,null,null,null,"Miscellaneous drain or wash water"]
[]
[]
["G - Complete if your project is only subject to Tier 1 Requirements - Site planning and LID design measures."]
["LID design measures shall be clearly marked on site plans"]
[]
["Check applicable boxes and provide short description of measure and location"]
[]
[null,"  Conserve natural areas, riparian areas and wetlands"]
[]
[null,null,"  Description:"]
[]
[null,"  Concentrate improvements on the least-sensitive portions of the site and minimize grading "]
[]
[null,null,"  Description:"]
[]
[null,"  Direct roof runoff into cisterns or rain barrels"]
[]
[null,null,"  Description:"]
[]
[null,"  Direct roof downspouts to landscaped areas or rain gardens"]
[]
[null,null,"  Description:"]
[]
[null,"  Use pervious pavement (pervious concrete or asphalt, turf block, crushed aggregate, etc.)"]
[]
[null,null,"  Description:"]
[]
[null,"  Disperse runoff from paved areas to adjacent pervious areas"]
[]
[null,null,"  Description:"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}